## Sheet1
Item No | SECTION No. 2: ELECTRICAL AND ICT RELATED PORTION |  | Quantity | Rate | Amount
BILL No. 1: PRELIMINARY AND GENERAL ITEMS
1 | Preliminary and General Items, pertaining specifically to the Electrical Installation.
1.1 | Nett price for site establishment and compliance with the conditions of contract, including storage, insurance and other overheads. | Sum | 1 |  | 0
1.2 | Insurance and Guarantee | Sum | 1 |  | 0
1.3 | Liaison with Nmbm Electrical Department and relevant application for timeous connections of supply. | Sum | 1 |  | 0
1.4 | Liaison with Main Contractor and for attendance for the checking of Builders' and other Sub-contractors' work pertaining to the Electrical Installation. | Sum | 1 |  | 0
1.5 | Nett price to comply with all the requirements of the Health & Safety specifications of the main contractor. | Sum | 1 |  | 0
1.6 | Site supervision and reporting according to the Health and Safety Specifications. | Sum | 1 |  | 0
1.7 | All labour, testing and issuing of the appropriate COC's. with regards to the Electrical Installation | Sum | 1 |  | 0
1.8 | Compilation of detail Operating and Maintenance Manuals, as-built drawings and documentation as specified and to the satisfaction of the Engineer | Sum | 1 |  | 0
1.9 | Scanned copy on memory drive of all items of item 1.8. above. | Sum | 2 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 1
PRELIMINARY AND GENERAL ITEMS
Item No | SECTION No. 2: ELECTRICAL AND ICT RELATED PORTION |  | Quantity | Rate | Amount
BILL No. 2: CABLE INSTALLATION
2. | Cable Installation
2.1 | Supply, install, terminate and commissioning the following 600/1000 V PVC/PVC/SWA/ECC/PVC aluminium cable as specified.
Supply
2.1.1 | 240mm², 4-core | m | Rate Only | 0
2.1.2 | 185mm², 4-core | m | 540 |  | 0
2.1.3 | 150mm², 4-core | m | Rate Only | 0
2.1.4 | 120mm², 4-core | m | Rate Only | 0
2.1.5 | 95mm², 4-core | m | Rate Only | 0
2.1.6 | 70mm², 4-core | m | Rate Only | 0
2.1.7 | 240mm², 3-core | m | Rate Only | 0
2.1.8 | 185mm², 3-core | m | Rate Only | 0
2.1.9 | 150mm², 3-core | m | Rate Only | 0
2.1.10 | 120mm², 3-core | m | Rate Only | 0
2.1.11 | 95mm², 3-core | m | Rate Only | 0
2.1.12 | 70mm², 3-core | m | Rate Only | 0
| Carried to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 2
CABLE INSTALLATION
Install
2.1.13 | 240mm², 4-core | m | Rate Only | 0
2.1.14 | 185mm², 4-core | m | 540 |  | 0
2.1.15 | 150mm², 4-core | m | Rate Only | 0
2.1.16 | 120mm², 4-core | m | Rate Only | 0
2.1.17 | 95mm², 4-core | m | Rate Only | 0
2.1.18 | 70mm², 4-core | m | Rate Only | 0
2.1.19 | 240mm², 3-core | m | Rate Only | 0
2.1.20 | 185mm², 3-core | m | Rate Only | 0
2.1.21 | 150mm², 3-core | m | Rate Only | 0
2.1.22 | 120mm², 3-core | m | Rate Only | 0
2.1.23 | 95mm², 3-core | m | Rate Only | 0
2.1.24 | 70mm², 3-core | m | Rate Only | 0
2.2 | Supply, install, terminate and commissioning the following 600/1000 V Saferdac cable as specified.
Supply
2.2.1 | 16mm², SNE, with communication cores | m | 200 |  | 0
2.2.2 | 10mm², SNE, with communication cores | m | 200 |  | 0
| Carried to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 2
CABLE INSTALLATION
Install
2.2.3 | 16mm², SNE, with communication cores | m | 200 |  | 0
2.2.4 | 10mm², SNE, with communication cores | m | 200 |  | 0
2.3 | Cable terminations
For PVC/PVC/SWA/ECC/PVC cables, including armour glands, shrouds, lugs, connections, insulation tape, cadmium plated bolts, nuts, spring-washers, etc.
Supply
2.3.1 | 240mm², 4-core | No | Rate Only | 0
2.3.2 | 185mm², 4-core | No | 22 |  | 0
2.3.3 | 150mm², 4-core | No | Rate Only | 0
2.3.4 | 120mm², 4-core | No | Rate Only | 0
2.3.5 | 95mm², 4-core | No | Rate Only | 0
2.3.6 | 70mm², 4-core | No | Rate Only | 0
2.3.7 | 240mm², 3-core | No | Rate Only | 0
2.3.8 | 185mm², 3-core | No | Rate Only | 0
2.3.9 | 150mm², 3-core | No | Rate Only | 0
2.3.10 | 120mm², 3-core | No | Rate Only | 0
2.3.11 | 95mm², 3-core | No | Rate Only | 0
2.3.12 | 70mm², 3-core | No | Rate Only | 0
| Carried to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 2
CABLE INSTALLATION
Install
2.3.13 | 240mm², 4-core | No | Rate Only | 0 | 0
2.3.14 | 185mm², 4-core | No | 22 |  | 0
2.3.15 | 150mm², 4-core | No | Rate Only | 0 | 0
2.3.16 | 120mm², 4-core | No | Rate Only | 0 | 0
2.3.17 | 95mm², 4-core | No | Rate Only | 0 | 0
2.3.18 | 70mm², 4-core | No | Rate Only | 0 | 0
2.3.19 | 240mm², 3-core | No | Rate Only | 0 | 0
2.3.20 | 185mm², 3-core | No | Rate Only | 0 | 0
2.3.21 | 150mm², 3-core | No | Rate Only | 0 | 0
2.3.22 | 120mm², 3-core | No | Rate Only | 0 | 0
2.3.23 | 95mm², 3-core | No | Rate Only | 0 | 0
2.3.24 | 70mm², 3-core | No | Rate Only | 0 | 0
2.4 | Supply, install, terminate and commissioning the following 600/1000 V Saferdac cable as specified.
Supply
2.4.1 | 16mm², SNE, with communication cores | No | 8 |  | 0
2.4.2 | 10mm², SNE, with communication cores | No | 8 |  | 0
| Carried to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 2
CABLE INSTALLATION
Install
2.4.3 | 16mm², SNE, with communication cores | No | 8 |  | 0
2.4.4 | 10mm², SNE, with communication cores | No | 8 |  | 0
2.5 | Pyramid type cable and sleeve markers and danger tape
Supply
2.5.1 | Markers | No | 35 |  | 0
2.5.2 | Danger Tape | m | 540 |  | 0
Install
2.5.3 | Markers | No | 35 |  | 0
2.5.4 | Danger Tape | m | 540 |  | 0
2.6 | Supply and install in position the following Cable Distribution Units (CDU's) in accordance with the NMBM requirements for coastal conditions.
CDU Type 2
2.6.1 | Supply | No | 5 |  | 0
2.6.2 | Install | No | 5 |  | 0
CDU Type 3
2.6.3 | Supply | No | 3 |  | 0
2.6.4 | Install | No | 3 |  | 0
| Carried forward to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 2
CABLE INSTALLATION
Section No. 2
Bill No. 2
CABLE INSTALLATION
COLLECTION
|  |  | Page No |  | Amount
| Total Brought Forward from Page No. |  | 2 |  | 0
|  |  | 3 |  | 0
|  |  | 4 |  | 0
|  |  | 5 |  | 0
|  |  | 6 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 2
CABLE INSTALLATION
Item No | SECTION No. 2: ELECTRICAL AND ICT RELATED PORTION |  | Quantity | Rate | Amount
BILL No. 3: SUBSTATION INSTALLATION
3. | Substation Installation
3.1 | Earth mat installation at substation as specified | Sum | 1 |  | 0
3.2 | Supply and install in position the following normal distribution boards, complete with trays, labels and conduit terminations as required by the number and type of circuits (minimum one conduit per circuit) along with at least six spare
Distribution Board DB-Main Sub
3.2.1 | Supply | Sum | 1 |  | 0
3.2.2 | Install | Sum | 1 |  | 0
Distribution Board DB-Sub
3.2.3 | Supply | Sum | 1 |  | 0
3.2.4 | Install | Sum | 1 |  | 0
3.3 | Electrical Installation to Substation Building
Switching units
Supply
3.3.1 | Photocell, 16A, square, grey body, opal lense. Spectrum Pecu QS16T | No | 1 |  | 0
3.3.2 | Surface mount single-load 360deg PIR occupancy sensor. Schneider Electric: SAE-UE-MS-CSBWE | No | 1 |  | 0
| Carried forward to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 3
SUBSTATION INSTALLATION
3.3.3 | Surface mounted single lever, one way light switch | No | 1 |  | 0
Install
3.3.4 | Photocell, 16A, square, grey body, opal lense. Spectrum Pecu QS16T | No | 1 |  | 0
3.3.5 | Surface mount single-load 360deg PIR occupancy sensor. Schneider Electric: SAE-UE-MS-CSBWE | No | 1 |  | 0
3.3.6 | Surface mounted single lever, one way light switch | No | 1 |  | 0
3.4 | Luminaires
Supply, install, connect and commission the following luminaires.
Supply
3.4.1 | Type E | No | 3 |  | 0
3.4.2 | Type F | No | 6 |  | 0
Install
3.4.3 | Type E | No | 3 |  | 0
3.4.4 | Type F | No | 6 |  | 0
3.5 | PVC Conduit and PVC trunking
PVC conduit and accessories. Conduit applied and installed, including couplings, cutting, reaming, bending, fixing, etc. as per specification.
Supply
3.5.1 | 20 mm diameter | m | 89 |  | 0
| Carried forward to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 3
SUBSTATION INSTALLATION
Install
3.5.2 | 20 mm diameter | m | 89 |  | 0
3.6 | Conduit boxes for PVC Conduit
Outlet boxes, round 65mm diameter x 25mm deep, complete with covers and screws, with conduit ends .
Supply
3.6.1 | 1-way for 20mm conduit | No | 2 |  | 0
3.6.2 | 2-way for 20mm conduit | No | 2 |  | 0
3.6.3 | 3-way for 20mm conduit | No | 2 |  | 0
Install
3.6.4 | 1-way for 20mm conduit | No | 2 |  | 0
3.6.5 | 2-way for 20mm conduit | No | 2 |  | 0
3.6.6 | 3-way for 20mm conduit | No | 2 |  | 0
3.7 | Conductors
PVC insulated 600/1000V Copper conductors, including earth, drawn into circuit.
Supply
3.7.1 | 1.5 mm² - (House Wire) | m | 200.25 |  | 0
3.7.2 | 2.5 mm² - (House Wire) | m | 155.75 |  | 0
| Carried forward to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 3
Install
3.7.3 | 1.5 mm² - (House Wire) | m | 200.25 |  | 0
3.7.4 | 2.5 mm² - (House Wire) | m | 155.75 |  | 0
3.8 | Switched socket outlets
Supply, install and connect surface 16 A, 3-pin switched socket outlet (shuttered type).
Supply
3.8.1 | Duo Combo | No | 2 |  | 0
Install
3.8.2 | Duo Combo | No | 2 |  | 0
| Carried forward to Collection |  |  |  | 0
Section No. 2
Bill No. 3
CABLE INSTALLATION
COLLECTION
|  |  | Page No |  | Amount
| Total Brought Forward from Page No. |  | 8 |  | 0
|  |  | 9 |  | 0
|  |  | 10 |  | 0
|  |  | 11 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 3
SUBSTATION INSTALLATION
Item No | SECTION No. 2: ELECTRICAL AND ICT RELATED PORTION |  | Quantity | Rate | Amount
BILL No. 4: ELECTRIC FENCE INSTALLATION
4 | Electric Fence Installation
4.1 | Zoned electric fence energizer as specified
Supply
4.1.1 | Energizer | No | 1 |  | 0
Install
4.1.2 | Energizer | No | 1 |  | 0
4.2 | Six-strand electric fence
Installed on walls and on Clear-Vu fence as per architects detail
Supply
4.2.1 | Electric fence on wall | m | 340 |  | 0
4.2.2 | Electric fence on Clear-Vu fence | m | 445 |  | 0
Install
4.2.1 | Electric fence on wall | m | 340 |  | 0
4.2.2 | Electric fence on Clear-Vu fence | m | 445 |  | 0
4.3 | Earthing of electric fence
Installation of three earth spikes every 30 meters of fencing. Complete with cable in conduits.
| Carried forward to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 4
Supply
4.3.1 | Complete earth point | No | 28 |  | 0
Install
4.3.2 | Complete earth point | No | 28 |  | 0
4.4 | Warning signs
Installation of warning signs as specified
Supply
4.4.1 | Warning sign | No | 85 |  | 0
Install
4.4.2 | Warning sign | No | 85 |  | 0
4.5 | Gate installations
Installation of electric fence to gates as per architects detail
Supply
4.5.1 | Vehicle Gate | No | 3 |  | 0
4.5.2 | Pedestrian Gate | No | 2 |  | 0
Install
4.5.3 | Vehicle Gate | No | 3 |  | 0
4.5.4 | Pedestrian Gate | No | 2 |  | 0
| Carried forward to Collection |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 4
4.6 | All other equipment to provide a complete working electric fence as per the specification.
Specify:
| __________________________________________________ | Sum | 1 | 0 | 0
| Carried forward to Collection |  |  | R | 0
Section No. 2
Bill No. 4
ELECTRIC FENCE INSTALLATION
COLLECTION
|  |  | Page No |  | Amount
| Total Brought Forward from Page No. |  | 12 |  | 0
|  |  | 13 |  | 0
|  |  | 14 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 4
ELECTRIC FENCE INSTALLATION
Item No | SECTION No. 2: ELECTRICAL AND ICT RELATED PORTION |  | Quantity | Rate | Amount
BILL No. 5: AUTOMATIC VEHICLE BARRIERS INSTALLATION
5 | Automatic Vehicle Barriers
Installation of Automatic Vehicle Barriers. Complete as specified.
Supply
5.1 | 3,5 meter Automatic barriers as specified | No | 3 |  | 0
5.2 | Closing loops laid beneath road surface | No | 3 |  | 0
5.3 | 3 button remotes | No | 10
Install
5.4 | 3,5 meter Automatic barriers as specified | No | 3 |  | 0
5.5 | Closing loops laid beneath road surface | No | 3 |  | 0
5.6 | 3 button remotes | No | 10 |  | 0
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 5
AUTOMATIC VEHICEL BARRIERS INSTALLATION
Item No | SECTION No. 2: ELECTRICAL AND ICT RELATED PORTION |  | Quantity | Rate | Amount
BILL No. 6: DAYWORKS AND OTHER ITEMS
6.1 | Allowance to make safe the electrical installation before demolition of existing structures on site takes place. | Sum | 1 |  | 0
6.2 | DAYWORKS
6.2.1 | Foreman
| Normal Time | man hours | 20 |  | 0
| Over Time | man hours | 5 |  | 0
| Sunday Time | man hours | 5 |  | 0
6.2.2 | Qualified Artisan |  |  |  | 0
| Normal Time | man hours | 20 |  | 0
| Over Time | man hours | 5 |  | 0
| Sunday Time | man hours | 5 |  | 0
6.2.3 | Labourer |  |  |  | 0
| Normal Time | man hours | 20 |  | 0
| Over Time | man hours | 5 |  | 0
| Sunday Time | man hours | 5 |  | 0
6.2.4 | Transport |  |  |  | 0
| Up to 5t | km | 100 |  | 0
| Bakkie 1t | km | 200 |  | 0
| Car | km | 200 |  | 0
Note: Dayworks rates will only be considered for additional work instructed by the Engineer not related to any aspect of the Specified Scope of Works
| Carried Forward to Summary of Section No. 2 |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION
Bill No. 6
DAYWORK AND OTHER ITEMS
SECTION SUMMARY - ELECTRICAL AND ICT RELATED PORTION
Bill No
1 | PRELIMENARY AND GENERAL ITEMS |  | 1 |  | 0
2 | CABLE INSTALLATION |  | 7 |  | 0
3 | SUBSTATION INSTALLATION |  | 11 |  | 0
4 | ELECTRIC FENCE INSTALLATION |  | 14 |  | 0
5 | AUTOMATIC VEHICLE BARRIER INSTALLATION |  | 15 |  | 0
6 | DAYWORK AND OTHER ITEMS |  | 16 |  | 0
The price submitted include all Main Contractor’s Profit and Mark up
Exclude the VAT when transferring price to the Final Summary of the
Main Contractor’s Document
| Carried to FINAL SUMMARY |  |  | R | 0
Section No. 2
ELECTICAL AND ICT RELATED PORTION